## BOQ Opt 1
Date : | 2025-08-20 |  |  | Project Code :
Client Name : | Mr Mohan Pawde |  |  | Quotation Revision : | 0
Address : | Wadala |  |  | Elemantra Contact Person : | Payal- 93724 07848
Quotation Summary | [5 empty] | SR.NO | Description | Amount
| Area in Sqft |  | 1400 |  |  | 1 | Loose furniture | 234000
SR.NO | Description |  | Amount |  |  | 2 | Additional items | 315000
1 | Civil & plumbing |  | 1088000 |  |  |  |  | 549000
2 | Electrical |  | 350000 |  |  | Total A+B |  | 5614504.5
3 | POP |  | 240000 |  |  | GST 18% extra
4 | Carpentry |  | 2452795
5 | Painting |  | 319300
6 | Miscellenious |  | 105000
7 | Design Consultation Fees(10%) |  | 510409.5
| Total A |  | 5065504.5
| Per Sqft Rate |  | 3618.2175
Sr.No | Id | Category | Item Details | Description | UOM | Elemantra Rates | Quantity | Amount | Location
Civil & plumbing
1 | D13 | Demolition | Kitchen platform | Demolition | Ls | 15000 | 1 | 15000 | Kitchen platform
2 |  | Demolition | Kitchen and bathroom wall tiles | Demolition | Ls | 25000 | 1 | 25000 | Kitchen and bathroom wall tiles
3 |  | Demolition | Window jambs, granite frames | Demolition | Ls | 8500 | 1 | 8500 | All areas
4 |  | Demolition | Floor tiles demolition | Demolition | Ls | 75000 | 1 | 75000 | All areas (Incl window seatings)
5 |  | Demolition | All windows | Demolition | Ls | 20000 | 1 | 20000 | All windows
6 |  | Demolition | Brickbat | Demolition | Ls | 6000 | 1 | 6000 | Toilet brickbat
7 |  | Demolition | Walls | Demolition | Ls | 20000 | 1 | 20000 | Wall demolitions
8 |  | Demolition | Removing of old door frames, main door, other misc items | Demolition | Ls | 6000 | 1 | 6000 | Door frames to be removed
9 |  | Civil | Blockwork construction Siporex wall - 4" | Providing and laying 4" (100 MM) Siporex partition wall with good quality blocks 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete. | Sqft | 160 | 100 | 16000 | Wall construction
10 |  | Civil | Plaster | Providing and laying 12-25 mm thick cement plaster of mis 1 : 4 (1 cement : 4 sand with 50% coarse sand & 50% fine sand) to all type of RCC / brick surface in line, level and plumb including providing wiremesh at all junctions of walls and ceilings etc. complete. | Sq.ft | 70 | 200 | 14000 | Plaster on walls constructed & bathroom walls
11 |  | Civil | Brickbat | Providing & laying brickbat coba (6") with PCC | Sqft | 200 | 150 | 30000 | Toilets
12 |  | Civil | Waterproofing | Waterproofing with 2 coats | Sqft | 80 | 150 | 12000 | Toilets
13 |  | Civil | Floor PCC | P / L 50-75mm average thickness Plain Cement Concrete 1:2:4 (1 cement : 2 coarse sand : 4 aggregate, 20mm and down gauge) , tamped, spaded, trowelled and smooth finish. | Sqft | 120 | 0 | 0 | Floor PCC - all areas
14 |  | Civil | Floor tiles Upto( 4' x 2' ) tiles laying | Laying of floor tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Sqft | 225 | 1400 | 315000 | All areas - tilework (Incl tile cost 100/ sq ft)
15 |  | Civil | Wall tile Skirting | Laying of floor tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Rft | 110 | 1100 | 121000 | All areas
16 |  | Civil | Italian marble flooring | Laying marble (18mm thk) of approved colour, shade and size in the flooring as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Sqft | 820 | 0 | 0 | Living room italian marble (Incl marble cost 600 / sq ft)
17 |  | Civil | Italian marble skirting | Laying marble (18mm thk) of approved colour, shade and size in the flooring as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Rft | 350 | 0 | 0 | Living room italian marble skirting (Incl marble cost 600 / sq ft)
18 |  | Civil | Kitchen and bathroom wall tiles | Laying of Wall tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Sqft | 150 | 830 | 124500 | Kitchen and bathroom wall tiles
19 | C23 | Civil | Kitchen Platform construction | includes marble verticals, base marble, moulding , cutting etc , also includes floor bedding with marble | Rft | 2500 | 16 | 40000 | Kitchen new platform
20 |  | Civil | Vanity counter Granite/Marble | Laying marble (18mm thk) of approved colour, shade and size on the platform as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Rft | 2000 | 20 | 40000 | Toilets (Incl cost of granite 150/ sqft)
21 |  | Civil | Window seating counter | Same as above | Rft | 2000 | 20 | 40000 | Toilets (Incl cost of granite 150/ sqft)
22 |  | Plumbing | Internal Concealed work (1 WC+ 1Shower and divertor + 1 Basin + 1 Geyser) | all plumbing concealed wall and floor CPVC and UPVC pipes and chipping and replastering work | Nos | 40000 | 4 | 160000 | All bathroom plumbing
[7 empty] | Total | 1088000
Electrical
1 | E 1 | Electrical | 5A Switch socket, Light points,AC point, Fan point, Circuit wiring, DB Dressing | new 5A Switch & Socket, light points, 15A, AC point, fan point from DB on wall include the price for wire and conduits, chipping and replastering on wall is included | All areas | 250 | 1400 | 350000 | All Areas
[7 empty] | Total | 350000
Pop/Falsceiling
1 |  | Gypsum Board Ceiling | Saint Gobain/Gyproc Board + local A Grade channel | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Sqft | 120 | 1200 | 144000 | All Areas
2 |  | Gypsum Board Cove | Gypsum cove | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Rft | 120 | 300 | 36000 | All Areas
3 |  | POP Punning | POP Punning (Plum) 12-25mm thick | Providing and applying 12-25 mm thick POP punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete. | Sqft | 55 | 400 | 22000 | All areas - Patch works and wall levelling purpose
4 |  | POP Punning dhar | POP Punning (Plum) 12-25mm thick | Providing and applying 12-25 mm thick POP punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete. | Rft | 30 | 200 | 6000 | All areas - Patch works and wall levelling purpose
5 |  | Hilux Board ceiling | Hilux Board + local A Grade channel | 8mm Ramco hilux board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Sqft | 200 | 160 | 32000 | All bathrooms
[7 empty] | Total | 240000
Carpentry
Living Room/Dining
1 |  | New main door | Laminate finish | New main door finished in Laminates on both sides with necessary hardware (Door closer, handles etc.) | L.s | 45000 | 1 | 45000 | Main door
2 |  | Safety door with grill | Laminate finish | Mr ply +both side Laminate finish+ SS grill+ Door frame + Lock+ handle+ Brass hinges | L.s | 45000 | 1 | 45000 | Safety door + grill
3 |  | Shoerack | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 1800 | 13.5 | 24300 | shoe rack
4 |  | TV Panelling with framing | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 750 | 52.5 | 39375 | Tv panel
5 |  | TV panel centre marble | Italian Marble finish | MR ply + Italian marble | Sqft | 600 | 45 | 27000 | Center marble on TV partition (Cost of marble : 600/ sq ft)
6 |  | TV base unit with drawers | Laminate + tinted glass | MR ply + Inside laminate + Laminate finish | Rft | 4500 | 7 | 31500 | tv unit base unit
7 |  | Crockery unit along with tall unit | Laminate + tinted glass | MR ply + Inside laminate + Laminate finish | Sqft | 2000 | 31 | 62000 | crockery unit including tall unit and mirror panel in centre
8 |  | Mandir incl CNC backdrop | Laminate + Corian Finish | Mandir | Sqft | 2200 | 21 | 46200 | Full height Mandir
9 |  | Pelmates for AC/ curtain | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 650 | 24.7 | 16055 | A.c Pelmate
10 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 35000 | 1 | 35000 | sofa back wall design
11 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 35000 | 1 | 35000 | Dining back wall design
Study room
1 |  | Bookshelf/ library unit | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 1800 | 24 | 43200 | Open & closed
2 |  | Sofa cum bed | Laminate Finish | MR ply + Inside laminate + Laminate finish | L.s | 55000 | 1 | 55000 | Study
3 |  | Study table | Laminate Finish | MR ply + Inside laminate + Veneer finish | Rft | 4500 | 5 | 22500 | Study table
4 |  | Overhead Storage | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 1800 | 20 | 36000 | Overhead study
5 |  | Glass partition | Glass finish | Glass partition with aluminium sections powder coated as per approved design | Sqft | 800 | 40 | 32000 | Glass partition at the entrance
Modular kitchen
1 |  | Undercounter cabinates | Laminate finish | Marine ply + Inside laminate + finish laminate | Sqft | 2100 | 37.5 | 78750 | undercounter
2 |  | Overhead cabinates | Laminate finish | Marine ply + Inside laminate + finish laminate (Includes upto 4 profile shutters) | Sqft | 2000 | 82.5 | 165000 | overhead+loft
3 |  | SS baskets | SS baskets | Basket + Channel+Fitting | Nos | 5000 | 5 | 25000 | undercounter
4 |  | Masala pull outs | Pull outs | Channel + fitting finished in approved design | Nos | 10000 | 2 | 20000 | undercounter
5 |  | Wicker basket | Wicker basket | Wicker basket + channel + fitting | Nos | 8000 | 2 | 16000 | undercounter
Master Bedroom
1 |  | Bed | Fabric Finish | Mr ply + Internal laminate + External laminate + Internal storage + Hydraulic lift | Sqft | 2000 | 37.5 | 75000 | bed
2 | CP 45 | Headboard | Fabric Finish | MR ply panelling + Foam material and labour. Excludes Fabric cost | Sqft | 1300 | 18 | 23400 | Headboard
3 |  | Walk in Wardrobe | Laminate Finish | MR ply + Inside laminate + finish laminate (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2100 | 108 | 226800 | wardrobe with loft
4 |  | side table | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 1 | 12000 | side table
5 |  | Study table | Laminate Finish | Mr ply + internal laminate + external laminate + keyboard tray | Rft | 4500 | 5 | 22500 | Study table
6 |  | Dressing mirror unit | Mirror finish | Mr ply + internal laminate + external laminate + Mirror | L.s | 1600 | 18 | 28800 | Dresser unit
7 |  | TV ledge | Laminate Finish | Mr ply + internal laminate + external laminate + drawers | Rft | 4500 | 6 | 27000 | TV ledge
8 |  | Window seating carcass | Laminate Finish | Mr ply + internal laminate + external laminate | Sqft | 1600 | 20 | 32000 | Window seating storages
9 |  | Pelmates for AC/ curtain | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 650 | 24.7 | 16055 | AC Pelmate
10 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 35000 | 1 | 35000 | Bed back wall design
11 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 35000 | 1 | 35000 | TV back wall design
Bedroom 1
1 |  | Bed | Laminate finish | Mr ply + Internal laminate + External laminate + Internal storage + Hydraulic lift | Sqft | 1900 | 37.5 | 71250 | bed
2 |  | Headboard | Fabric Finish | MR ply panelling + Foam material and labour. Excludes Fabric cost | Sqft | 1300 | 18 | 23400 | Headboard
3 |  | Wardrobe | Laminate finish | MR ply + Inside laminate + finish laminate (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2100 | 54 | 113400 | wardrobe with loft
4 |  | side table | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 2 | 24000 | side table
5 |  | dressing mirror | Laminate Finish |  | L.s | 7500 | 1 | 7500 | Mirror
6 |  | Dresser | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 1 | 12000 | Dresser
7 |  | Window seating carcass | Laminate Finish | Mr ply + internal laminate + external laminate | Sqft | 1600 | 20 | 32000 | Window seating storages
8 |  | Pelmates for AC/ curtain | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 650 | 24.7 | 16055 | AC Pelmate
9 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 35000 | 1 | 35000 | Bed back wall design
Bedroom 2
1 |  | Bed | Laminate finish | Mr ply + Internal laminate + External laminate + Internal storage + Hydraulic lift | Sqft | 1900 | 36 | 68400 | bed
2 |  | Headboard | Fabric Finish | MR ply panelling + Foam material and labour. Excludes Fabric cost | Sqft | 1300 | 18 | 23400 | Headboard
3 |  | Wardrobe | Laminate finish | MR ply + Inside laminate + finish laminate (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2100 | 54 | 113400 | wardrobe with loft
4 |  | side table | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 2 | 24000 | side table
5 |  | dressing mirror | Laminate Finish |  | L.s | 7500 | 1 | 7500 | Mirror
6 |  | Dresser | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 1 | 12000 | Dresser
7 |  | Window seating carcass | Laminate Finish | Mr ply + internal laminate + external laminate | Sqft | 1600 | 20 | 32000 | Window seating storages
8 |  | Pelmates for AC/ curtain | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 650 | 24.7 | 16055 | AC Pelmate
9 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 35000 | 1 | 35000 | Bed back wall design
Master Toilet
1 |  | Vaniy counter | Laminate Finish | MR ply + Inside laminate + finish laminate | L.s | 15000 | 1 | 15000 | vanity
2 |  | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 9000 | 1 | 9000 | Mirror panelling
3 |  | Glass Partiton | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 950 | 40 | 38000 | Glass Partition
Bed 1 Toilet
1 |  | Vaniy counter | Laminate Finish | MR ply + Inside laminate + finish laminate | L.s | 15000 | 1 | 15000 | vanity
2 |  | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 9000 | 1 | 9000 | Mirror panelling
3 |  | Glass Partiton | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 950 | 0 | 0 | Glass Partition
Bed 2 Toilet
1 |  | Vaniy counter | Laminate Finish | MR ply + Inside laminate + finish laminate | L.s | 15000 | 1 | 15000 | vanity
2 |  | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 9000 | 1 | 9000 | Mirror panelling
3 |  | Glass Partiton | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 950 | 0 | 0 | Glass Partition
Powder Toilet
1 |  | Vaniy counter | Laminate Finish | MR ply + Inside laminate + finish laminate | L.s | 15000 | 1 | 15000 | vanity
2 |  | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 9000 | 1 | 9000 | Mirror panelling
All doors & windows
1 |  | All door refurbishment | Laminate finish | All doors laminate finish change | Nos | 18000 | 8 | 144000 | All doors
2 |  | All windows rectification | Window rectification | All windows to be rectified if necessary | Nos | 15000 | 8 | 120000 | All windows
[7 empty] | Total | 2452795
Painting
1 |  | Ceiling paint Royal Shyne | 2 Primer + 1 Putty + 2 RLE | Painting with royal Shyne on ceiling, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 42 | 1400 | 58800 | Ceiling
2 |  | Wall paint Royal Shyne | 2 Primer + 1 Putty + 2 RLE | Painting with royal Shyne on walls, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 45 | 4900 | 220500 | Walls
3 |  | Texture paint | Texture paint | NA | Ls | 20000 | 1 | 20000 | Texture paint provision
4 |  | Melamine / PU | Melamine for veneer | NA | Ls | 20000 | 1 | 20000 | Melamine/ PU provision
[7 empty] | Total | 319300
Miscellenious
1 | M1 | NA | NA | NA | L.s | 20000 | 1 | 20000
2 | M2 | NA | NA | NA | L.s | 65000 | 1 | 65000
3 | M3 | NA | NA | NA | L.s | 20000 | 1 | 20000
[7 empty] | Total | 105000
Notes :-
1. BMC Legal permission and Mhatadi expense will be borne by the client
2. Quantity mentioned is approximate and exact will be counted at the time of billing
3. The work will commence after issuing of work order of agreed rate contract values
4. The storage of construction material/equipment to be provided by client
5. The electricity and water shall be provided free of cost from client
6. If work will be stopped/delayed due to any office member, govt. authority, idle charges will be charged for same period
7. All legal permission regarding work shall be produced by client
8. Any challans or bill break up will not be submitted
9. In detail material specification of any material to be checked by client with respective vendor at the time of selection
10. Durability of finishing material skins will not be our responsibility and thoroughly checked before finalising
11. Any work over and above mentioned in quotation will be charged extra
12. GST will be charged at 18% over and above mentioned rates
13.*rate may vary according to design/selection
Loose Furniture
1 |  | L SEATER SOFA |  | Supply & Installation of loose furniture | Nos | 120000 | 1 | 120000
2 |  | Center Table |  | Supply & Installation of loose furniture | Nos | 18000 | 1 | 18000
3 |  | Curtains |  | Supply & Installation of loose furniture | Ls | 9000 | 8 | 72000
4 |  | Sofa Cum Bed |  | Supply & Installation of loose furniture | Nos | 65000 | 0 | 0
5 |  | Office chair |  | Supply & Installation of loose furniture | Nos | 12000 | 2 | 24000
[7 empty] | Total | 234000
Additional items
1 |  | Lights & Fans |  |  | Ls | 60000 | 1 | 60000
2 |  | Switchboards |  |  | Ls | 35000 | 1 | 35000
3 |  | CP fittings |  |  | Nos | 55000 | 4 | 220000
[7 empty] | Total | 315000

## BOQ Opt 2
Date : | 2025-08-20 |  |  | Project Code :
Client Name : | Mr Mohan Pawde |  |  | Quotation Revision : | 0
Address : | Wadala |  |  | Elemantra Contact Person : | Payal- 93724 07848
Quotation Summary | [5 empty] | SR.NO | Description | Amount
| Area in Sqft |  | 1400 |  |  | 1 | Loose furniture | 234000
SR.NO | Description |  | Amount |  |  | 2 | Additional items | 315000
1 | Civil & plumbing |  | 1492500 |  |  |  |  | 549000
2 | Electrical |  | 420000 |  |  | Total A+B |  | 6766699.5
3 | POP |  | 240000 |  |  | GST 18% extra
4 | Carpentry |  | 2905745
5 | Painting |  | 439300
6 | Miscellenious |  | 105000
7 | Design Consultation Fees(10%) |  | 615154.5
| Total A |  | 6217699.5
| Per Sqft Rate |  | 4441.2139
Sr.No | Id | Category | Item Details | Description | UOM | Elemantra Rates | Quantity | Amount | Location | Lumpsum
Civil & plumbing | [9 empty] | Rate contract
1 | D13 | Demolition | Kitchen platform | Demolition | Ls | 15000 | 1 | 15000 | Kitchen platform
2 |  | Demolition | Kitchen and bathroom wall tiles | Demolition | Ls | 25000 | 1 | 25000 | Kitchen and bathroom wall tiles
3 |  | Demolition | Window jambs, granite frames | Demolition | Ls | 8500 | 1 | 8500 | All areas
4 |  | Demolition | Floor tiles demolition | Demolition | Ls | 75000 | 1 | 75000 | All areas (Incl window seatings)
5 |  | Demolition | All windows | Demolition | Ls | 20000 | 1 | 20000 | All windows
6 |  | Demolition | Brickbat | Demolition | Ls | 6000 | 1 | 6000 | Toilet brickbat
7 |  | Demolition | Walls | Demolition | Ls | 20000 | 1 | 20000 | Wall demolitions
8 |  | Demolition | Removing of old door frames, main door, other misc items | Demolition | Ls | 6000 | 1 | 6000 | Door frames to be removed
9 |  | Civil | Blockwork construction Siporex wall - 4" | Providing and laying 4" (100 MM) Siporex partition wall with good quality blocks 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete. | Sqft | 160 | 100 | 16000 | Wall construction
10 |  | Civil | Plaster | Providing and laying 12-25 mm thick cement plaster of mis 1 : 4 (1 cement : 4 sand with 50% coarse sand & 50% fine sand) to all type of RCC / brick surface in line, level and plumb including providing wiremesh at all junctions of walls and ceilings etc. complete. | Sq.ft | 70 | 200 | 14000 | Plaster on walls constructed & bathroom walls
11 |  | Civil | Brickbat | Providing & laying brickbat coba (6") with PCC | Sqft | 200 | 150 | 30000 | Toilets
12 |  | Civil | Waterproofing | Waterproofing with 2 coats | Sqft | 80 | 150 | 12000 | Toilets
13 |  | Civil | Floor PCC | P / L 50-75mm average thickness Plain Cement Concrete 1:2:4 (1 cement : 2 coarse sand : 4 aggregate, 20mm and down gauge) , tamped, spaded, trowelled and smooth finish. | Sqft | 120 | 1400 | 168000 | Floor PCC - all areas
14 |  | Civil | Floor tiles Upto( 4' x 2' ) tiles laying | Laying of floor tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Sqft | 225 | 1100 | 247500 | All areas - tilework (Incl tile cost 100/ sq ft)
15 |  | Civil | Wall tile Skirting | Laying of floor tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Rft | 110 | 1000 | 110000 | All areas
16 |  | Civil | Italian marble flooring | Laying marble (18mm thk) of approved colour, shade and size in the flooring as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Sqft | 820 | 350 | 287000 | Living room italian marble (Incl marble cost 600 / sq ft)
17 |  | Civil | Italian marble skirting | Laying marble (18mm thk) of approved colour, shade and size in the flooring as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Rft | 350 | 80 | 28000 | Living room italian marble skirting (Incl marble cost 600 / sq ft)
18 |  | Civil | Kitchen and bathroom wall tiles | Laying of Wall tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Sqft | 150 | 830 | 124500 | Kitchen and bathroom wall tiles
19 | C23 | Civil | Kitchen Platform construction | includes marble verticals, base marble, moulding , cutting etc , also includes floor bedding with marble | Rft | 2500 | 16 | 40000 | Kitchen new platform
20 |  | Civil | Vanity counter Granite/Marble | Laying marble (18mm thk) of approved colour, shade and size on the platform as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Rft | 2000 | 20 | 40000 | Toilets (Incl cost of granite 150/ sqft)
21 |  | Civil | Window seating counter | Same as above | Rft | 2000 | 20 | 40000 | Toilets (Incl cost of granite 150/ sqft)
22 |  | Plumbing | Internal Concealed work (1 WC+ 1Shower and divertor + 1 Basin + 1 Geyser) | all plumbing concealed wall and floor CPVC and UPVC pipes and chipping and replastering work | Nos | 40000 | 4 | 160000 | All bathroom plumbing
[7 empty] | Total | 1492500
Electrical
1 | E 1 | Electrical | 5A Switch socket, Light points,AC point, Fan point, Circuit wiring, DB Dressing | new 5A Switch & Socket, light points, 15A, AC point, fan point from DB on wall include the price for wire and conduits, chipping and replastering on wall is included | All areas | 300 | 1400 | 420000 | All Areas
[7 empty] | Total | 420000
Pop/Falsceiling
1 |  | Gypsum Board Ceiling | Saint Gobain/Gyproc Board + local A Grade channel | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Sqft | 120 | 1200 | 144000 | All Areas
2 |  | Gypsum Board Cove | Gypsum cove | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Rft | 120 | 300 | 36000 | All Areas
3 |  | POP Punning | POP Punning (Plum) 12-25mm thick | Providing and applying 12-25 mm thick POP punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete. | Sqft | 55 | 400 | 22000 | All areas - Patch works and wall levelling purpose
4 |  | POP Punning dhar | POP Punning (Plum) 12-25mm thick | Providing and applying 12-25 mm thick POP punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete. | Rft | 30 | 200 | 6000 | All areas - Patch works and wall levelling purpose
5 |  | Hilux Board ceiling | Hilux Board + local A Grade channel | 8mm Ramco hilux board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Sqft | 200 | 160 | 32000 | All bathrooms
[7 empty] | Total | 240000
Carpentry
Living Room/Dining
1 |  | New main door | Veneer Finish | New main door finished in veneer on both sides with necessary hardware (Door closer, handles etc.) | L.s | 65000 | 1 | 65000 | Main door
2 |  | Safety door with grill | Veneer Finish | Mr ply +both side Veneer finish+ SS grill+ Door frame + Lock+ handle+ Brass hinges | L.s | 65000 | 1 | 65000 | Safety door + grill
3 |  | Shoerack | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 1800 | 13.5 | 24300 | shoe rack
4 |  | TV Panelling with framing | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 750 | 52.5 | 39375 | Tv panel
5 |  | TV panel centre marble | Italian Marble finish | MR ply + Italian marble | Sqft | 600 | 45 | 27000 | Center marble on TV partition (Cost of marble : 600/ sq ft)
6 |  | TV base unit with drawers | Laminate + tinted glass | MR ply + Inside laminate + Laminate finish | Rft | 4500 | 7 | 31500 | tv unit base unit
7 |  | Crockery unit along with tall unit | Laminate + tinted glass | MR ply + Inside laminate + Laminate finish | Sqft | 2000 | 31 | 62000 | crockery unit including tall unit and mirror panel in centre
8 |  | Mandir incl CNC backdrop | Laminate + Corian Finish | Mandir | Sqft | 2200 | 21 | 46200 | Full height Mandir
9 |  | Pelmates for AC/ curtain | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 650 | 24.7 | 16055 | A.c Pelmate
10 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 45000 | 1 | 45000 | sofa back wall design
11 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 45000 | 1 | 45000 | Dining back wall design
Study room
1 |  | Bookshelf/ library unit | Veneer Finish | MR ply + Inside laminate + Veneer finish | Sqft | 2200 | 24 | 52800 | Open & closed
2 |  | Sofa cum bed | Laminate Finish | MR ply + Inside laminate + Laminate finish | L.s | 55000 | 1 | 55000 | Study
3 |  | Study table | Veneer Finish | MR ply + Inside laminate + Veneer finish | Rft | 5500 | 5 | 27500 | Study table
4 |  | Overhead Storage | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 1800 | 20 | 36000 | Overhead study
5 |  | Glass partition | Glass finish | Glass partition with aluminium sections powder coated as per approved design | Sqft | 800 | 40 | 32000 | Glass partition at the entrance
Modular kitchen
1 |  | Undercounter cabinates | Laminate finish | Marine ply + Inside laminate + finish laminate | Sqft | 2100 | 37.5 | 78750 | undercounter
2 |  | Overhead cabinates | Laminate finish | Marine ply + Inside laminate + finish laminate (Includes upto 4 profile shutters) | Sqft | 2000 | 82.5 | 165000 | overhead+loft
3 |  | Tandom drawers | Tandem basket | Basket + Channel+Fitting | Nos | 10000 | 6 | 60000 | undercounter
4 |  | Masala pull outs | Pull outs | Channel + fitting finished in approved design | Nos | 11000 | 2 | 22000 | undercounter
5 |  | Wicker basket | Wicker basket | Wicker basket + channel + fitting | Nos | 8000 | 2 | 16000 | undercounter
Master Bedroom
1 |  | Bed | Fabric Finish | Mr ply + Internal laminate + External laminate + Internal storage + Hydraulic lift | Sqft | 2000 | 37.5 | 75000 | bed
2 | CP 45 | Headboard | Fabric Finish | MR ply panelling + Foam material and labour. Excludes Fabric cost | Sqft | 1300 | 18 | 23400 | Headboard
3 |  | Walk in Wardrobe | Laminate + Tinted glass | MR ply + Inside laminate + finish laminate + tinted glass (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2500 | 108 | 270000 | wardrobe with loft
4 |  | side table | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 1 | 12000 | side table
5 |  | Study table | Laminate Finish | Mr ply + internal laminate + external laminate + keyboard tray | Rft | 4500 | 5 | 22500 | Study table
6 |  | Dressing mirror unit | Mirror finish | Mr ply + internal laminate + external laminate + Mirror | L.s | 1600 | 18 | 28800 | Dresser unit
7 |  | TV ledge | Laminate Finish | Mr ply + internal laminate + external laminate + drawers | Rft | 4500 | 6 | 27000 | TV ledge
8 |  | Window seating carcass | Laminate Finish | Mr ply + internal laminate + external laminate | Sqft | 1600 | 20 | 32000 | Window seating storages
9 |  | Pelmates for AC/ curtain | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 650 | 24.7 | 16055 | AC Pelmate
10 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 35000 | 1 | 35000 | Bed back wall design
11 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 35000 | 1 | 35000 | TV back wall design
Bedroom 1
1 |  | Bed | Fabric Finish | Mr ply + Internal laminate + External laminate + Internal storage + Hydraulic lift | Sqft | 2000 | 36 | 72000 | bed
2 |  | Headboard | Fabric Finish | MR ply panelling + Foam material and labour. Excludes Fabric cost | Sqft | 1300 | 18 | 23400 | Headboard
3 |  | Wardrobe | Laminate finish | MR ply + Inside laminate + finish laminate (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2200 | 54 | 118800 | wardrobe with loft
4 |  | side table | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 2 | 24000 | side table
5 |  | dressing mirror | Laminate Finish |  | L.s | 7500 | 1 | 7500 | Mirror
6 |  | Dresser | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 1 | 12000 | Dresser
7 |  | Window seating carcass | Laminate Finish | Mr ply + internal laminate + external laminate | Sqft | 1600 | 20 | 32000 | Window seating storages
8 |  | Pelmates for AC/ curtain | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 650 | 24.7 | 16055 | AC Pelmate
9 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 25000 | 1 | 25000 | Bed back wall design
Bedroom 2
1 |  | Bed | Fabric Finish | Mr ply + Internal laminate + External laminate + Internal storage + Hydraulic lift | Sqft | 2000 | 36 | 72000 | bed
2 |  | Headboard | Fabric Finish | MR ply panelling + Foam material and labour. Excludes Fabric cost | Sqft | 1300 | 18 | 23400 | Headboard
3 |  | Wardrobe | Laminate finish | MR ply + Inside laminate + finish laminate (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2200 | 54 | 118800 | wardrobe with loft
4 |  | side table | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 2 | 24000 | side table
5 |  | dressing mirror | Laminate Finish |  | L.s | 7500 | 1 | 7500 | Mirror
6 |  | Dresser | Laminate Finish | Mr ply + Internal laminate + External laminate + 1 single drawer + wall mounted | L.s | 12000 | 1 | 12000 | Dresser
7 |  | Window seating carcass | Laminate Finish | Mr ply + internal laminate + external laminate | Sqft | 1600 | 20 | 32000 | Window seating storages
8 |  | Pelmates for AC/ curtain | Laminate Finish | MR ply + Inside laminate + Laminate finish | Sqft | 650 | 24.7 | 16055 | AC Pelmate
9 |  | Additional scope | Any decor | Wallpaper/ mouldings/ panelling | L.s | 25000 | 1 | 25000 | Bed back wall design
Master Toilet
1 |  | Vaniy counter | Laminate Finish | MR ply + Inside laminate + finish laminate | L.s | 15000 | 1 | 15000 | vanity
2 |  | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 9000 | 1 | 9000 | Mirror panelling
3 |  | Glass Partiton | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 950 | 40 | 38000 | Glass Partition
Bed 1 Toilet
1 |  | Vaniy counter | Laminate Finish | MR ply + Inside laminate + finish laminate | L.s | 15000 | 1 | 15000 | vanity
2 |  | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 9000 | 1 | 9000 | Mirror panelling
3 |  | Glass Partiton | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 950 | 30 | 28500 | Glass Partition
Bed 2 Toilet
1 |  | Vaniy counter | Laminate Finish | MR ply + Inside laminate + finish laminate | L.s | 15000 | 1 | 15000 | vanity
2 |  | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 9000 | 1 | 9000 | Mirror panelling
3 |  | Glass Partiton | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 950 | 30 | 28500 | Glass Partition
Powder Toilet
1 |  | Vaniy counter | Laminate Finish | MR ply + Inside laminate + finish laminate | L.s | 15000 | 1 | 15000 | vanity
2 |  | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 9000 | 1 | 9000 | Mirror panelling
All doors & windows
1 |  | All new doors | Veneer finish | All new doors finished in veneer on both sides | Nos | 35000 | 8 | 280000 | All doors
2 |  | New windows | Glass finish | All new windows with approved aluminium powder coated sections | Sq ft | 1000 | 250 | 250000 | All windows
[7 empty] | Total | 2905745
Painting
1 |  | Ceiling paint Royal Shyne | 2 Primer + 1 Putty + 2 RLE | Painting with royal Shyne on ceiling, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 42 | 1400 | 58800 | Ceiling
2 |  | Wall paint Royal Shyne | 2 Primer + 1 Putty + 2 RLE | Painting with royal Shyne on walls, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 45 | 4900 | 220500 | Walls
3 |  | Texture paint | Texture paint | NA | Ls | 40000 | 1 | 40000 | Texture paint provision
4 |  | Melamine / PU | Melamine for veneer | NA | Ls | 120000 | 1 | 120000 | Melamine/ PU provision
[7 empty] | Total | 439300
Miscellenious
1 | M1 | Misc costs | NA | NA | L.s | 20000 | 1 | 20000
2 | M2 | Debris | NA | NA | L.s | 65000 | 1 | 65000
3 | M3 | Cleaning/ transport | NA | NA | L.s | 20000 | 1 | 20000
[7 empty] | Total | 105000
Notes :-
1. BMC Legal permission and Mhatadi expense will be borne by the client
2. Quantity mentioned is approximate and exact will be counted at the time of billing
3. The work will commence after issuing of work order of agreed rate contract values
4. The storage of construction material/equipment to be provided by client
5. The electricity and water shall be provided free of cost from client
6. If work will be stopped/delayed due to any office member, govt. authority, idle charges will be charged for same period
7. All legal permission regarding work shall be produced by client
8. Any challans or bill break up will not be submitted
9. In detail material specification of any material to be checked by client with respective vendor at the time of selection
10. Durability of finishing material skins will not be our responsibility and thoroughly checked before finalising
11. Any work over and above mentioned in quotation will be charged extra
12. GST will be charged at 18% over and above mentioned rates
13.*rate may vary according to design/selection
Loose Furniture
1 |  | L SEATER SOFA |  | Supply & Installation of loose furniture | Nos | 120000 | 1 | 120000
2 |  | Center Table |  | Supply & Installation of loose furniture | Nos | 18000 | 1 | 18000
3 |  | Curtains |  | Supply & Installation of loose furniture | Ls | 9000 | 8 | 72000
4 |  | Sofa Cum Bed |  | Supply & Installation of loose furniture | Nos | 65000 | 0 | 0
5 |  | Office chair |  | Supply & Installation of loose furniture | Nos | 12000 | 2 | 24000
[7 empty] | Total | 234000
Additional items
1 |  | Lights & Fans |  |  | Ls | 60000 | 1 | 60000
2 |  | Switchboards |  |  | Ls | 35000 | 1 | 35000
3 |  | CP fittings |  |  | Nos | 55000 | 4 | 220000
[7 empty] | Total | 315000

## Sheet4
| 1 | 2 | 3 | 4 | 5 | 7 | 8 | 9 | 10
ID | Item Name | Category | Item Details | Description | UOM | Vendor Rates | Elemantra Rate | udaan rate | udaan vendor rate
FC 1 | False Ceiling | Demolition | Removal of Existing false ceiling | Demolition | Nos | 10 | 20 | 17 | 10
FC 2 | False Ceiling | Gypsum Board Ceiling | IGL -Saint Gobain Board/Gyproc+ India Gypsum GI Frame | 12.5mm thick gypsum board, with Saint Gobain or India Gyspum Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Sqft | 100 | 150 | 128 | 100
FC 3 | False Ceiling | Gypsum Board Ceiling | Saint Gobain/Gyproc Board + local A Grade channel | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Sqft | 70 | 120 | 102 | 70
FC 4 | False Ceiling | Gypsum Board Cove | Gypsum cove | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Rft | 50 | 120 | 102 | 50
FC 5 | False Ceiling | Hilux Board ceiling | Hilux Board + local A Grade channel | 8mm Ramco hilux board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c | Sqft | 120 | 200 | 170 | 120
FC 6 | False Ceiling | PVC ceiling | PVC ceiling + local A grade channel |  | Sqft | 160 | 200 | 180 | 160
FC 7 | POP | POP Partition | Gypsum Board + local A Grade channel | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc | Sqft | 150 | 200 | 170 | 150
FC 8 | POP | POP Partition dhar | Gypsum Board + local A Grade channel | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc | Rft | 100 | 150 | 128 | 100
FC 9 | POP | Hilux Partition | Hilux Board + local A Grade channel | 8mm thick Ramco Hilux, with local A Grade Channel including all material, labour, transportation etc | Sqft | 175 | 260 | 221 | 175
FC 10 | POP | Hilux Partition dhar | Hilux Board + local A Grade channel | 8mm thick Ramco Hilux, with local A Grade Channel including all material, labour, transportation etc | Rft | 120 | 200 | 170 | 120
FC 11 | POP | POP Punning | POP Punning (Plum) 12-25mm thick | Providing and applying 12-25 mm thick POP punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete. | Sqft | 36 | 55 | 47 | 36
FC 12 | POP | POP Punning dhar | POP Punning (Plum) 12-25mm thick | Providing and applying 12-25 mm thick POP punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete. | Rft | 20 | 30 | 26 | 20
FC 13 | POP | POP Punning | POP Punning (Plum) 12-25mm thick | Providing and applying 12-25 mm thick POP punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete. | Sqft | 30 | 45 | 39 | 30
FC 14 | POP | POP Punning dhar | POP Punning (Plum) 12-25mm thick | Providing and applying 12-25 mm thick POP punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete. | Rft | 18 | 25 | 22 | 18
FC 15 | POP | Skirting groove | NA | NA | Rft | 15 | 30 | 26 | 15
FC 16 | POP | Wall Groove | NA | NA | Rft | 20 | 40 | 34 | 20
FC 17 | False Ceiling | Light Gala cutting | NA | NA | Nos | 75 | 150 | 128 | 75
D1 | Demolition | Brickwall - 4" | NA | Demolition | Sqft | 20 | 35
D2 | Demolition | Brickwall - 6" | NA | Demolition | Sqft | 20 | 40 | 25 | 18
D3 | Demolition | Brickwall - 9" | NA | Demolition | Sqft | 25 | 45
D4 | Demolition | RCC | NA | Demolition | Sqft | 40 | 70
D5 | Demolition | Plaster | NA | Demolition | Sqft | 20 | 35
D6 | Demolition | Wall tiles | NA | Demolition | Sqft | 20 | 40 | 34 | 18
D7 | Demolition | Floor tiles | NA | Demolition | Sqft | 20 | 35 | 32 | 18
D8 | Demolition | Floor PCC | NA | Demolition | Sqft | 20 | 35 | 32 | 18
D9 | Demolition | Granite frames | NA | Demolition | Rft | 20 | 50 | 42 | 18
D10 | Demolition | Floor marble/granite | NA | Demolition | Sqft | 20 | 35
D11 | Demolition | Wall marble/granite | NA | Demolition | Sqft | 25 | 40
D12 | Demolition | Wall skirting | NA | Demolition | Rft | 15 | 35 | 32 | 12
D13 | Demolition | Kitchen platform | NA | Demolition | Rft | 50 | 100 | 85 | 50
D14 | Demolition | Brickbat | NA | Demolition | Sqft | 40 | 70 | 60 | 40
D15 | Demolition | Tancha work | NA | Demolition | Sqft | 10 | 20
D16 | Demolition | Additional Labor |  | Demolition | Nos | 600 | 800
C1 | Civil | Brickwall - 4" |  | Providing and laying 4" (100 MM) brick partition wall with good quality bricks well burnt 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete. | Sqft | 110 | 150
C2 | Civil | Brickwall - 6" |  | Providing and laying 6" (150 MM) brick partition wall with good quality bricks well burnt 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete. | Sqft | 150 | 175
C3 | Civil | Brickwall - 9" |  | Providing and laying 9" (250 MM) brick partition wall with good quality bricks well burnt 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete. | Sqft | 170 | 210
C4 | Civil | Siporex wall - 4" |  | Providing and laying 4" (100 MM) Siporex partition wall with good quality blocks 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete. | Sqft | 120 | 210
C5 | Civil | Siporex wall - 6" |  | Providing and laying 6" (150 MM) Siporex partition wall with good quality blocks 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete. | Sqft | 140 | 200 | 170 | 140
C6 | Civil | Siporex wall - 9" |  | Providing and laying 9" (250 MM) Siporex partition wall with good quality blocks 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete. | Sqft | 170 | 250
C7 | Civil | Plaster |  | Providing and laying 12-25 mm thick cement plaster of mis 1 : 4 (1 cement : 4 sand with 50% coarse sand & 50% fine sand) to all type of RCC / brick surface in line, level and plumb including providing wiremesh at all junctions of walls and ceilings etc. complete. | Sqft | 75 | 120 | 102 | 75
C8 | Civil | Wall tiles | Upto( 4' x 2' ) tiles laying | Laying of Wall tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Sqft | 80 | 140 | 120 | 80
C9 | Civil | Wall tiles | Above ( 4' x 2' ) tiles laying | Laying of Wall tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Sqft | 80 | 165
C10 | Civil | Wall tiles |  | Laying of Wall tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. |  | As per Design | As per Design
C11 | Civil | Floor tiles | Upto( 4' x 2' ) tiles laying | Laying of floor tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Sqft | 80 | 140 | 120 | 80
C12 | Civil | Floor tiles | Above ( 4' x 2' ) tiles laying | Laying of floor tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Sqft | 80 | 165
C13 | Civil | Wall tile Skirting |  | Laying of floor tiles of approved colour and size as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included. | Rft | 40 | 110 | 82 | 40
C14 | Civil | Floor PCC |  | P / L 50-75mm average thickness Plain Cement Concrete 1:2:4 (1 cement : 2 coarse sand : 4 aggregate, 20mm and down gauge) , tamped, spaded, trowelled and smooth finish. | Sqft | 75 | 120 | 102 | 75
C15 | Civil | Granite frames | Single patti | Granite Frame – up to 6 Inches width {Including Bevelling+ Cutting+ Polishing}. Excludes Granite cost | Rft | 80 | 130 | 110 | 80
C16 | Civil | Granite frames | Double Patti | Granite Frame – up to 6 Inches width {Including Bevelling+ Cutting+ Polishing}. Excludes Granite cost | Rft | 160 | 260 | 220 | 160
C17 | Civil | Marble frames | Single patti | Marble Frame – up to 6 Inches width {Including Bevelling+ Cutting+ Polishing}. Excludes Granite cost | Rft | 120 | 175 | 150 | 120
C18 | Civil | Marble frames | Double Patti | Marble Frame – up to 6 to 12 Inches width {Including Bevelling+ Cutting+ Polishing}. Excludes Granite cost | Rft | 240 | 350 | 300 | 240
C19 | Civil | Wall marble/granite / Tiles |  | Laying marble (18mm thk) of approved colour, shade and size on the wall as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Sqft | 140 | 220
C20 | Civil | Floor marble/granite |  | Laying marble (18mm thk) of approved colour, shade and size in the flooring as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Sqft | 160 | 220
C21 | Civil | Wall marble/granite |  | Laying marble (18mm thk) of approved colour, shade and size on the wall as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Sqft | 180 | 295
C22 | Civil | Wall marble skirting |  | Laying marble (18mm thk) of approved colour, shade and size in the flooring as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Sqft | 80 | 150
C23 | Civil | Kitchen platform | Fully Modular Kitchen - Granite/Marble | Laying marble (18mm thk) of approved colour, shade and size on the platform as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Sqft | 150 | 500 | 300 | 150
C24 | Civil | Kitchen platform | Fully Modular Kitchen - Quartz | Laying marble (18mm thk) of approved colour, shade and size on the platform as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Sqft | 150 | 500
C25 | Civil | Kitchen platform | Semi - Modular | includes marble verticals, base marble, moulding , cutting etc , also includes floor bedding with marble | Rft | 1150 | 3000
C26 | Civil | Brickbat |  | Providing & laying brickbat coba (4") with PCC | Sqft | 130 | 170 | 155 | 130
C27 | Civil | Brickbat |  | Providing & laying brickbat coba (6") with PCC | Sqft | 150 | 200 | 68 | 150
C28 | Civil | Brickbat |  | Providing & laying brickbat coba (9") with PCC | Sqft | 170 | 230 | 51 | 170
C29 | Civil | Brickbat |  | Providing & laying brickbat coba (12") with PCC | Sqft | 200 | 260 | 68 | 200
C30 | Civil | Waterproofing |  | Waterproofing with 2 coats | Sqft | 50 | 80 | 56 | 50
C31 | Civil | Floor Marble Polishing |  | Polishing of existing marble flooring as per site with granite polish and sealer coat as per approval/ detail and to the entire satisfaction of the Engineer in charge, including all material, labour, lead, lift, protection till final finish & handover, complete in all respects. (Rates are including for protection of adjacent existing finished material/ item like stone/ wooden/ paint with polythene/ply masking tape etc. or as per site condition before starting the works) (office and bath room area) | Sqft | 40 | 60
C32 | Civil | Daimond Floor Marble Polishing |  | Polishing of existing marble flooring as per site with granite polish and sealer coat as per approval/ detail and to the entire satisfaction of the Engineer in charge, including all material, labour, lead, lift, protection till final finish & handover, complete in all respects. (Rates are including for protection of adjacent existing finished material/ item like stone/ wooden/ paint with polythene/ply masking tape etc. or as per site condition before starting the works) | Sqft | 55 | 90
C33 | Civil | Wall Marble Polishing |  | Polishing of existing wall as per site with granite polish and sealer coat as per approval/ detail and to the entire satisfaction of the Engineer in charge, including all material, labour, lead, lift, protection till final finish & handover, complete in all respects. (Rates are including for protection of adjacent existing finished material/ item like stone/ wooden/ paint with polythene/ply masking tape etc. or as per site condition before starting the works) | Sqft | 45 | 65
C34 | Civil | Wall Marble Polishing |  | Polishing of existing marble wall as per site with granite polish and sealer coat as per approval/ detail and to the entire satisfaction of the Engineer in charge, including all material, labour, lead, lift, protection till final finish & handover, complete in all respects. (Rates are including for protection of adjacent existing finished material/ item like stone/ wooden/ paint with polythene/ply masking tape etc. or as per site condition before starting the works) | Sqft | 70 | 85
C35 | Civil | Skrirting Marble Polishing |  | Polishing of existing wall as per site with granite polish and sealer coat as per approval/ detail and to the entire satisfaction of the Engineer in charge, including all material, labour, lead, lift, protection till final finish & handover, complete in all respects. (Rates are including for protection of adjacent existing finished material/ item like stone/ wooden/ paint with polythene/ply masking tape etc. or as per site condition before starting the works) | Rft | 25 | 40
C36 | Civil | Skrirting Marble Polishing |  | Polishing of existing marble wall as per site with granite polish and sealer coat as per approval/ detail and to the entire satisfaction of the Engineer in charge, including all material, labour, lead, lift, protection till final finish & handover, complete in all respects. (Rates are including for protection of adjacent existing finished material/ item like stone/ wooden/ paint with polythene/ply masking tape etc. or as per site condition before starting the works) | Rft | 40 | 60
C37 | Civil | Marble Cutting works | Marble/Granite | Marble cutting works with all machinery and tools | Rft |  | 30
C38 | Civil | Marble Chemical Coating |  |  | Sqft | 30 | 80
C39 | Civil | White marble sealer coating (Inside) |  |  | Sqft | 20 | 30
C40 | Civil | White marble sealer coating (outside) |  |  | Sqft | 55 | 70
C41 | Civil | Floor tiles Joint |  |  | Sqft | 80 | 100
C42 | Civil | Tiles top Chemical Coating |  |  | Sqft | 25 | 60
C43 | Civil | Box making | Marble | Erecting marble partitions (Single) vertical and horizontal shelves | SFT | 80 | 0
C44 | Civil | Marble fixing on Walls | Marble | Fixing marble on walls | SFT | 100 | 0
C45 | Civil | Vanity counter | Granite/Marble | Laying marble (18mm thk) of approved colour, shade and size on the platform as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works ) | Rft | 1000 | 1500 | 1000 | 800
CP 1 | Carpentry | Panelling with framing | Laminate Finish | MR ply + ply framing + finish laminate | Sqft | 450 | 650 | 552 | 450
CP 2 | Carpentry | Panelling with framing | Veneer Finish | MR ply + ply framing + finish Veneer | Sqft | 550 | 800
CP 3 | Carpentry | Panelling with framing | Mirror Finish | MR ply + ply framing + 5mm clear mirror | Sqft | 500 | 750
CP 4 | Carpentry | Panelling with framing | Backpainted glass | MR ply + ply framing + 5mm toughned backpainted extra clear glass | Sqft | 725 | 950
CP 5 | Carpentry | Panelling with framing | Gypsum Board Finish | MR ply + ply framing + 12.5mm Gypsum sheet | Sqft | 450 | 650
CP 6 | Carpentry | Panelling with framing | MDF | MR ply + ply framing + 12mm MDF | Sqft | 450 | 650 | 552 | 450
CP 7 | Carpentry | Panelling with framing | ACP | MR ply + ply framing + 3mm ACP Sheet | Sqft | 475 | 700
CP 8 | Carpentry | Partition | Laminate Finish | MR ply + ply framing + finish laminate | Sqft | 500 | 700
CP 9 | Carpentry | Partition | Veneer Finish | MR ply + ply framing + finish Veneer | Sqft | 650 | 900
CP 10 | Carpentry | Partition | Gypsum Board Finish | MR ply + ply framing + 12.5mm Gypsum sheet | Sqft | 500 | 700
CP 11 | Carpentry | Partition | MDF | MR ply + ply framing + 12mm MDF | Sqft | 500 | 700
CP 12 | Carpentry | Ply ceiling | Laminate Finish | MR ply + ply framing + finish laminate | Sqft | 450 | 650
CP 13 | Carpentry | Ply ceiling | Veneer Finish | MR ply + ply framing + finish Veneer | Sqft | 550 | 800
CP 14 | Carpentry | Ceiling | ACP | MR ply + ply framing + 3mm ACP Sheet | Sqft | 475 | 700
CP 15 | Carpentry | Rafter Ceiling | Laminate Finish | MR ply + ply framing + finish laminate | Rft | 350 | 500
CP 16 | Carpentry | Rafter Ceiling | Veneer Finish | MR ply + ply framing + finish Veneer | Rft | 350 | 600
CP 17 | Carpentry | Wardrobe | Laminate Finish | MR ply + Inside laminate + finish laminate. (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 1600 | 2200 | 1900 | 1600
CP 18 | Carpentry | Wardrobe | Veneer Finish | MR ply + Inside laminate + finish Veneer (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 1750 | 2500
CP 19 | Carpentry | Wardrobe | MDF Finish |  | Sqft | 1600 | 2200
CP 20 | Carpentry | Wardrobe | Backpainted glass | MR ply + Inside laminate + Profile section for glass+ 5mm toughned backpainted extra clear glass(Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 1800 | 2800
CP 21 | Carpentry | Bed | Laminate Finish | MR ply + Inside laminate + finish laminate | Sqft | 1400 | 2000 | 1700 | 1400
CP 22 | Carpentry | Bed | Veneer Finish | MR ply + Inside laminate + finish Veneer | Sqft | 1600 | 2200
CP 23 | Carpentry | Bed | MDF Finish | MR ply + Inside laminate + 12mm MDF | Sqft | 1400 | 2000
CP 24 | Carpentry | Bed | Fabric Finish | MR ply + Inside laminate + foaming material and labor. Excludes Fabric cost | Sqft | 1500 | 2100
CP 25 | Carpentry | Carcass Storage | Laminate Finish | MR ply + Inside laminate + finish laminate | Sqft | 1350 | 1800 | 1600 | 1350
CP 26 | Carpentry | Carcass Storage | Prelam finish | Prelam ply+Inside laminate+Finish laminate | Sqft | 850 | 1200
CP 27 | Carpentry | Carcass Storage | Veneer Finish | MR ply + Inside laminate + finish Veneer | Sqft | 1500 | 2100
CP 28 | Carpentry | Carcass Storage | MDF Finish | MR ply + Inside laminate + 12mm MDF | Sqft | 1350 | 1800
CP 29 | Carpentry | Carcass Storage | Backpainted glass | MR ply + Inside laminate + Profile section for glass+ 5mm toughned backpainted extra clear glass | Sqft | 1800 | 2500
CP 30 | Carpentry | New Door | Laminate Finish | MR ply + finish laminate from both sides | Nos | 18900 | 25000 | 23000 | 18900
CP 31 | Carpentry | New Door | Veneer Finish | MR ply + finish veneer from both sides | Nos | 21000 | 28000
CP 32 | Carpentry | New Door | MDF Finish | MR ply + 4mm MDF from both sides | Nos | 18900 | 25000
CP 33 | Carpentry | Ply Door Frame | Laminate Finish | MR ply + finish laminate from both sides | Rft | 400 | 600 | 510 | 400
CP 34 | Carpentry | Ply Door Frame | Veneer Finish | MR ply + finish veneer from both sides | Rft | 500 | 750
CP 35 | Carpentry | Ply Door Frame | MDF Finish | MR ply + 4mm MDF from both sides | Rft | 400 | 600
CP 36 | Carpentry | Teakwood Door Frame | Laminate Finish | Saalwood/Redwood + Finish laminate | Rft |  | 1100
CP 37 | Carpentry | Teakwood Door Frame | Veneer Finish | Saalwood/Redwood + Finish Veneer | Rft |  | 1200
CP 38 | Carpentry | Teakwood Door Frame | Melamine Polish | Saalwood/Redwood | Rft |  | 1000
CP 39 | Carpentry | Sliding door | Laminate Finish | MR ply + finish laminate from both sides | Sqft | 1000 | 1350
CP 40 | Carpentry | Sliding door | Veneer Finish | MR ply + finish veneer from both sides | Sqft | 1150 | 1500
CP 41 | Carpentry | Sliding door | MDF Finish | MR ply + 4mm MDF from both sides | Sqft | 1000 | 1350
CP 42 | Carpentry | Sliding folding door | Laminate Finish | MR ply + finish laminate from both sides | Sqft | 1100 | 1450
CP 43 | Carpentry | Sliding folding door | Veneer Finish | MR ply + finish veneer from both sides | Sqft | 1300 | 1600
CP 44 | Carpentry | Sliding folding door | MDF Finish | MR ply + 4mm MDF from both sides | Sqft | 1100 | 1450
CP 45 | Carpentry | Headboard | Fabric Finish | MR ply panelling + Foam material and labour. Excludes Fabric cost | Sqft | 950 | 1300 | 1100 | 950
CP 46 | Carpentry | Bed Side table | Laminate Finish | MR ply + Inside laminate + finish laminate (1 Drawer) | Nos | 6500 | 13000 | 10000 | 6500
CP 47 | Carpentry | Bed Side table | Veneer Finish | MR ply + Inside laminate + finish Veneer(1 Drawer) | Nos | 8000 | 15000
CP 48 | Carpentry | Bed Side table | MDF Finish | MR ply + Inside laminate + 12mm MDF(1 Drawer) | Nos | 6500 | 9000
CP 49 | Carpentry | Study Table | Laminate Finish | MR ply + Inside laminate + finish laminate (2 pencil drawers) | Rft | 3000 | 4500 | 3825 | 3000
CP 50 | Carpentry | Study Table | Veneer Finish | MR ply + Inside laminate + finish Veneer (2 Pencil Drawers) | Rft | 4000 | 6000
CP 51 | Carpentry | Study Table | MDF Finish | MR ply + Inside laminate + 12mm MDF (2 Pencil Drawers) | Rft | 3000 | 4500
CP 52 | Carpentry | Wall Shelves | Laminate Finish | MR ply + finish laminate from both sides | Rft | 800 | 1000
CP 53 | Carpentry | Wall Shelves | Veneer Finish | MR ply + finish veneer from both sides | Rft | 900 | 1200
CP 54 | Carpentry | Wall Shelves | MDF Finish | MR ply + 4mm MDF from both sides | Rft | 800 | 1000
CP 55 | Carpentry | Only Shutters | Laminate Finish | MR ply + Inside laminate + finish laminate | Sqft | 550 | 700
CP 56 | Carpentry | Only Shutters | Veneer Finish | MR ply + Inside laminate + finish Veneer | Sqft | 650 | 850
CP 57 | Carpentry | Only Shutters | MDF Finish | MR ply + Inside laminate + 12mm MDF | Sqft | 550 | 700
CP 58 | Carpentry | Only Shutters | backpainted glass | MR ply + Inside laminate + Profile section for glass+ 5mm toughned backpainted extra clear glass | Sqft | 700 | 1100
CP 59 | Carpentry | Inside Drawers | Inside laminate | MR ply + Inside laminate | Nos | 4000 | 7000
CP 60 | Carpentry | Inside Drawers | Veneer Finish | MR ply + finish veneer | Nos | 6000 | 10000
CP 61 | Carpentry | Kitchen Basket | SS Perforated | Basket + Channel+Fitting charges | Nos | 5000 | 8000
CP 62 | Carpentry | Kitchen Basket | SS Jali | Basket + Channel+Fitting charges | Nos | 3500 | 5000
CP 63 | Carpentry | Tandom box | Inside laminate | Basket + Channel+Fitting charges | Nos | 7000 | 10000 | 9000 | 6500
CP 64 | Carpentry | Wicker basket | Wicker basket | Basket + Channel+Fitting charges | Nos | 4000 | 6000 | 5000 | 4000
CP 65 | Carpentry | Glass Partiton | 8mm Toughned glass | 8mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 400 | 650
CP 66 | Carpentry | Glass Partiton | 10mm toughned glass | 10mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 425 | 700 | 595 | 425
CP 67 | Carpentry | Glass Partiton | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 450 | 750
CP 68 | Carpentry | Glass Doors | 8mm Toughned glass | 8mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 600 | 850
CP 69 | Carpentry | Glass Doors | 10mm toughned glass | 10mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 625 | 875
CP 70 | Carpentry | Glass Doors | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 650 | 900
CP 71 | Carpentry | Glass + Aluminium Partition | 8mm Toughned glass | 8mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 400 | 650
CP 72 | Carpentry | Glass + Aluminium Partition | 10mm toughned glass | 10mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 425 | 700
CP 73 | Carpentry | Glass + Aluminium Partition | 12mm toughned glass | 12mm toughned glass + Fitting labour + loading, unloading + All fitting hardware + Silicon etc | Sqft | 450 | 750
CP 74 | Carpentry | Director Table | Prelam Board | 25mm board + All Hardware + 2 drawers | Rft | 2000 | 3500
CP 75 | Carpentry | Director Table | Laminate Finish | 18mm board + All Hardware + 2 drawers | Rft | 3500 | 5000
CP 76 | Carpentry | Director Table | Veneer Finish | 18mm board + All Hardware + 2 drawers | Rft | 4000 | 6000
CP 77 | Carpentry | Director Table | MDF Finish | 18mm board + All Hardware + 2 drawers | Rft | 3500 | 5000
CP 78 | Carpentry | Director Table | Corian Finish | 18mm board + All Hardware + 2 drawers | Rft | As per Design | As per Design
CP 79 | Carpentry | Table tops | Prelam Board | One side finish laminate and one side inside laminate | Sqft | 275 | 400
CP 80 | Carpentry | Table tops | Laminate Finish | One side finish laminate and one side inside laminate | Sqft | 350 | 600
CP 81 | Carpentry | Table tops | Veneer Finish | One side finishVeneer and one side inside laminate | Sqft | 450 | 700
CP 82 | Carpentry | Table tops | MDF Finish | One side finish MDF and one side inside laminate | Sqft | 350 | 500
CP 83 | Carpentry | Table tops | Corian Finish | One side finish corian and one side inside laminate | Sqft | 850 | 1200
CP 84 | Carpentry | Table tops | Stone Finish
CP 85 | Carpentry | Free standing workstation with keyboard trays | Prelam Board | 25mm board + All Hardware +Keyboard tray | Rft | 2000 | 4000
CP 86 | Carpentry | Free standing workstation with keyboard trays | Laminate Finish | 18mm board + All Hardware + keyboard tray | Rft | 3500 | 5000
CP 87 | Carpentry | Free standing workstation with keyboard trays | Veneer Finish | 18mm board + All Hardware + keyboard tray | Rft | 4000 | 7000
CP 88 | Carpentry | Free standing workstation with keyboard trays | MDF Finish | 18mm board + All Hardware + keyboard tray | Rft | 3500 | 5000
CP 89 | Carpentry | CP/MDF Moulding | CP Wood/MDF | 18mm board + All Hardware + keyboard tray | Rft | 55 | 150
CP 90 | Carpentry | Change shutters only | Laminate Finish | MR ply + Inside laminate + finish laminate | Sqft | 440 | 615
CP 91 | Carpentry | Change shutters only | MDF Finish | MR ply + Inside laminate + finish MDF | Sqft |  | 615
CP 92 | Carpentry | Change shutters only | Textured/patterned MDF Finish | MR ply + Inside laminate + finish MDF | Sqft |  | 615
CP 93 | Carpentry | Change shutters only | Veneer Finish | MR ply + Inside laminate + finish Veneer | Sqft |  | 685
CP 94 | Carpentry | Change finish only | Laminate Finish | Finish laminate | Sqft |  | 475
CP 95 | Carpentry | Change finish only | MDF Finish | Finish MDF | Sqft | 350 | 475
CP 96 | Carpentry | Change finish only | Textured/patterned MDF Finish | Finish textured/patterned MDF | Sqft |  | 550
CP 97 | Carpentry | Change finish only | Veneer Finish | Finish veneer | Sqft |  | 675
CP 98 | Carpentry | Bed laminate change | Laminate Finish | Finish laminate | Sqft |  | 475
CP 99 | Carpentry | Bed laminate change | MDF Finish | MDF finish | Sqft |  | 475
CP 100 | Carpentry | Bed add fabric only | Fabric Finish | Fabric finish | Sqft |  | 675
CP 101 | Carpentry | Metal skirting profile | SS finish
CP 102 | Carpentry | Metal skirting profile | SS finish
CP 103 | Carpentry | Metal skirting profile | SS finish
CP 104 | Carpentry | MEtal skirting profile
CP 105 | Carpentry | Acoustic panels
CP 106 | Carpentry | Mirror panelling | Mirror finish | MRply + ply framing + finish mirror | Ls | 5500 | 7000 | 7000 | 5500
CP 107 | Carpentry | Bunker Bed | Laminate Finish | MRply + Inside laminate + finish laminate | Ls | 90000 | 115000
CP 108 | Carpentry | Dresser | Laminate Finish | MRply + Inside laminate + finish laminate | Sqft | 1400 | 1600 | 1500 | 1300
CP 109 | Carpentry | Bed+ Headboard | Laminate Finish | MRply + Inside laminate + finish laminate | Ls | 85000 | 90000
CP 110 | Carpentry | Carcass Storage | Laminate Finish | MRply + Inside laminate + finish laminate+accents of gold in pvd coated metal members | Sqft | 1800 | 2300
CP 111 | Carpentry | Main Door+Safety door | Laminate Finish | MRply + finish laminate from both sides | Nos | 35000 | 40000
CP 112 | Carpentry | Bar unit | Laminate Finish | MRply + Inside laminate + finish laminate (without accessories) | Sqft | 1700 | 2500
CP 113 | Carpentry | Vanity | Laminate Finish | MRply + Inside laminate + finish laminate /mirror door | Sqft | 1350 | 1800
CP 114 | Carpentry | Window |  | Alumimiun windows with 10mm glass | Sqft | 500 | 650
CP 115 | Carpentry | Carcass Storage | Laminate Finish | MR ply + Inside laminate + finish laminate | Sqft | 1350 | 1800
CP 116 | Carpentry | Safety door | Laminate Finish | MRply + finish laminate from both sides | Nos | 32000 | 40000 | 40000 | 32000
CP 117 | Carpentry | Carcass Storage | Laminate Finish | MRply + Inside laminate + finish laminate+ Corian jaali on back + Veneer jali door/Corian jaali door+accents of gold in pvd coated metal members | Sqft | 2000 | 2500 | 2300 | 1800
CP 118 | Carpentry | Wall mounted bed | Laminate Finish | MRply + Inside laminate + finish laminate | Ls | 80000 | 90000 | 85000 | 75000
CP 119 | Carpentry | sofa cum bed | Laminate Finish | MRply + Inside laminate + finish laminate | Ls | 70000 | 75000
CP 120 | Carpentry | Ledge | Laminate Finish | MRply + Inside laminate + finish laminate | Rft | 2200 | 2500 | 2300 | 2000
MD 1 | Carpentry | Wardrobe | Laminate Finish | MR ply + Inside laminate + finish laminate. (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2200 | 2860
MD 2 | Carpentry | Wardrobe | Veneer Finish | MR ply + Inside laminate + finish Veneer (Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2500 | 3250
MD 3 | Carpentry | Wardrobe | HDHMR+ PU finish | MR ply + Inside laminate + 12mm MDF(Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 2300 | 2990
MD 4 | Carpentry | Wardrobe | Backpainted glass | MR ply + Inside laminate + Profile section for glass+ 5mm toughned backpainted extra clear glass(Includes 4 pencil drawers, Handles of base rate Rs.1000/pc) | Sqft | 3000 | 3900
MD 5 | Carpentry | Bed | Laminate Finish | MR ply + Inside laminate + finish laminate | Sqft | 1500 | 1950
MD 6 | Carpentry | Bed | Veneer Finish | MR ply + Inside laminate + finish Veneer | Sqft | 2500 | 3250
MD 7 | Carpentry | Bed | HDHMR+ PU finish | MR ply + Inside laminate + 12mm MDF | Sqft | 1800 | 2340
MD 8 | Carpentry | Bed | Fabric Finish | MR ply + Inside laminate + foaming material and labor. Excludes Fabric cost | Sqft | 1500 | 1950
MD 9 | Carpentry | Carcass Storage | Laminate Finish | MR ply + Inside laminate + finish laminate | Sqft | 1500 | 1950
MD 10 | Carpentry | Carcass Storage | Veneer Finish | MR ply + Inside laminate + finish Veneer | Sqft | 1800 | 2340
MD 11 | Carpentry | Carcass Storage | HDHMR+ PU finish | MR ply + Inside laminate + 12mm MDF | Sqft | 1500 | 1950
MD 12 | Carpentry | Carcass Storage | Backpainted glass | MR ply + Inside laminate + Profile section for glass+ 5mm toughned backpainted extra clear glass | Sqft | 2000 | 2600
MD 13 | Carpentry | Bed Side table | Laminate Finish | MR ply + Inside laminate + finish laminate (1 Drawer) | Nos | 7500 | 9750
MD 14 | Carpentry | Bed Side table | Veneer Finish | MR ply + Inside laminate + finish Veneer(1 Drawer) | Nos | 1000 | 1300
MD 15 | Carpentry | Bed Side table | HDHMR+ PU finish | MR ply + Inside laminate + 12mm MDF(1 Drawer) | Nos | 8500 | 11050
MD 16 | Carpentry | Study Table | Laminate Finish | MR ply + Inside laminate + finish laminate (2 pencil drawers) | Rft | 3000 | 3900
MD 17 | Carpentry | Study Table | Veneer Finish | MR ply + Inside laminate + finish Veneer (2 Pencil Drawers) | Rft | 4000 | 5200
MD 18 | Carpentry | Study Table | MDF Finish | MR ply + Inside laminate + 12mm MDF (2 Pencil Drawers) | Rft | 4000 | 5200
MD 19 | Carpentry | Inside Drawers | Inside laminate | MR ply + Inside laminate | Nos | 7500 | 9750
E 1 | Electrical | 5A Switch & Socket - New | new 5A Switch & Socket from DB on wall include the price for wire and conduits, chipping and replastering on wall is included | NOTE - The rates include fixingof switch / socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check. | per point | 625 | 850 | 725 | 625
E 2 | Electrical | Light Point | new 5A Switch (Light) points from DB on wall include the price for wire and conduits, chipping and replastering on wall is included | NOTE - The rates include fixingof switch / socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check. | per point | 625 | 850 | 725 | 625
E 3 | Electrical | 15 A Switch & Socket - New | new 15A Switch & Socket from DB on wall include the price for wire and conduits, chipping and replastering on wall is included | NOTE - The rates include fixingof switch / socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check. | per point | 750 | 1000 | 850 | 750
E 4 | Electrical | Fan Point | new fan point. include the price for wire and conduits, chipping and replastering on wall is included | NOTE - The rates include fixingof fan in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check. | per point | 1000 | 1500 | 1275 | 1000
E 5 | Electrical | AC Point | new AC point. include the price for wire and conduits, chipping and replastering on wall is included | NOTE - The rates does not include fixing of AC | per point | 1000 | 1500 | 1275 | 1000
E 6 | Electrical | Secondary point | secondary looping point | Electrical Wiring | per point | 350 | 500 | 425 | 350
E 7 | Electrical | Circuit wiring | Circuit Wiring 1.5 mm | Electrical Wiring | rft | 45 | 55 | 47 | 45
E 8 | Electrical | Circuit wiring | Circuit Wiring 2.5 mm | Electrical Wiring | rft | 52 | 65 | 56 | 52
E 9 | Electrical | Circuit wiring | Circuit Wiring 4 mm | Electrical Wiring | rft | 60 | 80 | 68 | 60
E 10 | Electrical | Telephone wiring | Telephone Wiring 4 pair (inlcudes wiring and conduits) | Electrical Wiring | rft | 45 | 55 | 47 | 45
E 11 | Electrical | Internet wiring | Internet Wiring CAT-6 (inlcudes wiring & conduits) LAN cable | Electrical Wiring | rft | 45 | 55 | 47 | 45
E 12 | Electrical | Cable wiring | TV Cable Wiring RJ-6 (includes wiring and conduits ) | Electrical Wiring | rft | 45 | 55 | 47 | 45
E 13 | Electrical | Speaker wiring | Speaker Cabling of Oxygen Make | Electrical Wiring | rft | 45 | 55 | 47 | 45
E 14 | Electrical | Light fixing | Standard Light Fixing | Electrical Wiring | no. | 100 | 150 | 128 | 100
E 15 | Electrical | Light fixing | Profile and strip lights fixing | Electrical Wiring | Rft | 30 | 50 | 43 | 30
E 16 | Electrical | Light fixing | Decorative lights fixing |  | nos | 300 | 500 | 425 | 300
E 17 | Electrical | DB Dressing |  | Includes wire, DB Box and labor. Excludes MCB | nos | 5000 | 20000 | 17000 | 5000
P 1 | Paint | Premium Emulsion (Plastic Paint) | 2 Primer + 1 Putty + 2 PE | Painting with acrylic emulsion on ceiling, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 27 | 35
P 2 | Paint | Interior Finish Lustre | 2 Primer + 2 Putty + 2 PE | Painting with interior finish Luster on walls , to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 33 | 40
P 3 | Paint | Royal Matt | 2 Primer + 1 Putty + 2 RLE | Painting with royal luxury emulsion on walls, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 35 | 42
P 4 | Paint | Royal Aspira | 2 Primer + 3 Putty + 3 RA | Painting with royal Aspira on walls, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 45 | 55
P 5 | Paint | Royal Shyne | 2 Primer + 1 Putty + 2 RLE | Painting with royal Shyne on walls, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 35 | 45 | 42 | 35
P 6 | Paint | Zinc |  |  | Sqft | 85 | 120
P 7 | Paint | Jotun |  |  | Sqft | 50 | 80
P 8 | Paint | Epoxy |  |  | Sqft | 50 | 80
P 9 | PU | Clear |  |  | Sqft | 200 | 250
P 10 | PU | Colour |  |  | Sqft | 230 | 280
P 11 | PU | Metallic |  |  | Sqft | 300 | 375
P 12 | Polish | Melamine |  |  | Sqft | 80 | 120
P 13 | Polish | French |  |  | Sqft | 25 | 40
P 14 | Duco | Matt |  |  | Sqft | 180 | 220
P 15 | Duco | Metallic |  |  | Sqft | 220 | 280
P 16 | Lamination | Clear |  |  | Sqft | 370 | 450
P 17 | Lamination | Colour |  |  | Sqft | 400 | 525
P 18 | Lamination | Marble finish |  |  | Sqft | 0 | 0
P 19 | Paint | Royal Shyne | 2 Primer + 1 Putty + 2 RLE | Painting with royal Shyne on ceiling, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement | Sqft | 35 | 42 | 42 | 35
0
PL 1 | Plumbing | Bathroom Plumbing | Internal Concealed work (1 WC+ 1Shower and divertor + 1 Basin + 1 Geyser) | all plumbing concealed wall and floor CPVC and UPVC pipes and chipping and replastering work | per bathroom | 25000 | 42000 | 35000 | 25000
PL 2 | Plumbing | Bathroom Plumbing | CP fitting work (1 WC+ 1Shower and divertor + 1 Basin + 1 Geyser) | cp fiting and sanitary ware fixing in a bathroom (only fitting charges) | per bathroom | 8000 | 25000
PL 3 | Plumbing | Kitchen Plumbing | Internal Concealed work (1 Basin + 1 Geyser) | all plumbing concealed wall and floor CPVC and UPVC pipes and chipping and replastering work | per kitchen | 5500 | 15000 | 10000 | 5500
PL 4 | Plumbing | Kitchen Plumbing | CP fitting work (1 Basin + 1 Geyser) | cp fiting and sanitary ware fixing (only fitting charges) | per kitchen | 1500 | 3000
PL 5 | Demolition | Bathroom Plumbing |  | Removal of Sanitary Fittings and Concealed Supply and drainage lines from given locations | per bathroom | 2000 | 4500
PL 6 | Demolition | Kitchen Plumbing |  | Removal of Sanitary Fittings and Concealed Supply and drainage lines from given locations | per kitchen | 1000 | 1500
M1 | CLEANING | NA | NA | NA | Ls | 20000 | 25000 | 20000 | 15000
M2 | DEBRIS REMOVAL | NA | NA | NA | Ls | 25000 | 30000 | 25000 | 20000
M3 | MISCELLENIOUS | NA | NA | Floor Covering, Doors and Windows Covering | Ls | 20000 | 25000 | 20000 | 15000
0 | 0 | 0 | 0 | 0 | 0 | 0